## COURSE SYLLABUS

Fire Safety Awareness

| Duration – 3 hours Max Delegates - 10 |  |
| --- | --- |
| Aim Fires in the workplace can have a massive effect on both businesses and individuals. A serious fire can often result in a company closing for good and the cost to individual workers can be far greater. This fire training is essential for all staff and aims to ensure that those in attendance have increased awareness of; - The legal requirements as set under the Fire Safety Order 2005 - Fire science and the hazards that fire presents - The importance of fire safety procedures |  |
| Objectives – Delegates will be able to; - Highlight the duties of the Responsible Person - Describe their own responsibilities as employees - Know how they can assist their employer with managing fire safety - Know the consequences of non compliance - List the key elements of fire - Identify fire hazards - Identify control measures - Know the action needed when raising the alarm - Know how to notify the fire services - Identify fire safety signage and fire extinguisher types |  |
| Session | Content |
| 1 | Introduction and Registration |
| 2 | Legal Requirements |
| 3 | Fire Science and Risk Assessment |
| 4 | Fire Safety Procedures |
| 6 | Multiple Choice Test |
| 7 | Course evaluation and close |